## sm_supported_device_en
DeviceType | Connectivity type | Device name | Description | Attributes
Appliances | LAN | Bosch HC Dryer | Home Connect Dryer
Appliances | LAN | Bosch HC Washer | Home Connect Washer
Appliances | LAN | Bosch HC Dishwasher | Home Connect Dishwasher
Appliances | LAN | Miele Dryer | Miele Dryer
Appliances | LAN | Miele Washer | Miele Washer
Appliances | LAN | Miele Dishwasher | Miele Dishwasher
Battery | LAN | ads-tec StoraXe | ads-tec StoraXe | batteryActiveCtrl[active]
Battery | LAN | AlphaEssBat | AlphaESS Storion Smile | batteryActiveCtrl[active]
Battery | LAN | Axitec Bat | Axitec AXIhycon RTU
Battery | LAN | BYD B-BOX H with Kostal PLENTICORE plus and Energy Manager EM300-LR | Kostal PLENTICORE BI/G3/plus
Battery | LAN | BYD B-BOX H with Victron Energy Venus GX | Victron Energy GX
Battery | LAN | Deye Sun Bat | Deye Sun RTU Low Voltage
Battery | LAN | Deye Sun Bat2 | Deye Sun RTU High Voltage
Battery | LAN | E3DC Bat | E3/DC Battery
Battery | LAN | Eaton Bat | Eaton xStorage Hybrid
Battery | LAN | Ecocoach Bat | Ecocoach
Battery | LAN | Ecoflow Bat | Ecoflow Power Ocean Plus
Battery | LAN | EnergyButler Rtu Bat | M-Tec Energy Butler RTU
Battery | LAN | EnergyButler TCP Bat | M-Tec Energy Butler TCP
Battery | LAN | Enphase Bat | Enphase IQ Gateway Metered
Battery | LAN | Fenecon Hybrid Bat | Fenecon
Battery | LAN | FoxEss AIO-H3 Bat | Fox ESS AIO-H3 RTU
Battery | LAN | FoxEss H3 Pro Bat | Fox ESS H3 Pro RTU
Battery | LAN | Fronius BYD HV | Fronius Hybrid or Gen24
Battery | LAN | Fronius TCP Bat | Fronius Hybrid or Gen24 Modbus TCP
Battery | LAN | Goodwe Bat | Goodwe Battery ET / EH / BH / BT 5-10kW TCP
Battery | LAN | Goodwe RTU Bat | Goodwe Battery ET RTU
Battery | LAN | GREENROCK storage | GREENROCK storage
Battery | LAN | Growatt Bat | Growatt MID, MOD & SPH RTU
Battery | LAN | Huawei Emma Bat | Huawei EMMA
Battery | LAN | Huawei LUNA2000 | Huawei LUNA2000
Battery | LAN | Huawei Smartlogger Bat | Huawei SmartLogger3000
Battery | LAN | Innovenergy Salidomo | Innovenergy Salidomo
Battery | LAN | Janitza UMG 604 BatMeas | Battery Measurement Janitza UMG 604/512 Pro
Battery | LAN | Kostal Piko Bat | Kostal PIKO BA
Battery | LAN | LEDVANCE Bat | LEDVANCE Hybrid RTU
Battery | LAN | LG ESS Bat | LG ESS HOME 8/10
Battery | LAN | Max Storage Ultimate | Solarmax Max.Storage Ultimate
Battery | LAN | neoom KJUUBE | neoom KJUUBE
Battery | LAN | Powerball System | Powerball System Storage
Battery | LAN | Prolux Bat | Prolux Storac
Battery | RTU | RCT Power Bat | RCT Power Storage
Battery | LAN | Sax Bat | Sax Power Home
Battery | LAN | Senmarck Bat | Senmarck RTU
Battery | RTU | Sigenergy Bat | Sigenergy SigenStor
Battery | LAN | SKHWR Bat | Sonnenkraft Hybridwechselrichter RTU
Battery | RTU | SKHWR Pro Bat | Sonnenkraft Hybridwechselrichter Pro RTU
Battery | LAN | SMA Datamanger Bat | SMA Datamanager
Battery | LAN | SMA Tripower Bat | SMA Tripower Smart Energy
Battery | LAN | Sofar HYD Bat | Sofar Hybrid 5K-20KTL-3PH RTU
Battery | LAN | Sofar HYD TCP Bat | Sofar Hybrid 5K-20KTL-3PH TCP
Battery | LAN | SolarEdge SE HD | SolarEdge StoreEdge SE HD
Battery | LAN | SolarLogPRO380 BatMeas | Battery Measurement SolarLog Pro 380
Battery | RTU | SOLARWATT MyReserve | SOLARWATT MyReserve
Battery | RTU | Solax Hybrid Bat | Solax Hybrid (X1&X3-G3)
Battery | RTU | Solax Hybrid G4 Bat | Solax Hybrid (X1&X3-G4)
Battery | RTU | Solax Hybrid G4 RTU Bat | Solax Hybrid (X1&X3-G4) RTU
Battery | LAN | Solinteg MHT Bat | Solinteg MHT
Battery | RTU | Solis Bat | Solis Hybrid RTU
Battery | RTU | Solplanet Bat | Solplanet RTU
Battery | RTU | sonnenBatterie | sonnenBatterie
Battery | LAN | sonnenBatterie eco 7.0 | sonnenBatterie eco 7.0
Battery | RTU | sonnenBatterie v2 Bat | sonnenBatterie 10
Battery | RTU | Strong Alfred Bat | Strong Alfred RTU
Battery | RTU | Studer Next3 Bat | Studer Innotec Next3
Battery | RTU | Sungrow SH Bat | Sungrow SHxxRS/T
Battery | LAN | SungrowSH5 Bat | Sungrow SHxxRT
Battery | LAN | Sunny Boy Storage Bat | SMA Sunny Boy Storage
Battery | LAN | Sunny Island X Bat | SMA Sunny Island X
Battery | LAN | Sunwoda ESS Bat | Sunwoda SunESS Power All-in-One RTU
Battery | LAN | Swaytronic Bat | Swaytronic Hybrid Smartinverter
Battery | RTU | Tesla Powerwall 2 | Tesla Powerwall 2
Battery | RTU | Trina Solar Bat | Trina Solar RTU
Battery | LAN | TWICE Hexagon | modual Basic / Lite AC
Battery | RTU | Ubbink Bat | Ubbink BESS 1.0 RTU
Battery | LAN | VARTA Storage | VARTA Storage
Battery | RTU | ZZBatteryShelly1PM | Battery Measurement Shelly 1 PM
Battery | RTU | ZZBatteryShelly1ProPM | Battery Measurement Shelly 1 Pro PM
Battery | RTU | ZZBatteryShelly3EM | Battery Measurement Shelly 3EM
Battery | RTU | ZZBatteryShellyPro3EM | Battery Measurement Shelly Pro 3EM
Battery | LAN | ZZBatterySmartme | Battery Measurement Smart-me
Car | LAN | Device Link Car | Car
Car Charging | LAN | ABB Terra AC | ABB Terra AC MID
Car Charging | LAN | ABL em4 | ABL em4
Car Charging | LAN | Alfen EVE Double | Alfen EVE Double
Car Charging | LAN | Alfen EVE Single | Alfen EVE Single
Car Charging | LAN | AmedioProfessional | Mennekes Amedio Professional
Car Charging | LAN | AmtronPremium | Mennekes Amtron Xtra, Premium
Car Charging | LAN | AmtronProfessional | Mennekes Amtron Professional
Car Charging | LAN | Chargeamps Charger | Chargeamps Charger
Car Charging | LAN | Clemap Charger | Clemap Floem Chargepoint
Car Charging | LAN | Compleo | Compleo eBox
Car Charging | LAN | Dazebox Home | Dazebox Home
Car Charging | LAN | easee Home | Easee Charge, Core, Home & Lite
Car Charging | LAN | Elli | ID. Charger Connect 1/2, Pro 1/2
Car Charging | LAN | Etrel Inch Home | Etrel Inch Home
Car Charging | LAN | EV Buddy Smart | EV Buddy Smart
Car Charging | LAN | Garo GLB Plus | Garo GLB+
Car Charging | LAN | go-eChargerH | go-eCharger HOME+
Car Charging | LAN | go-eChargerH2 | go-eCharger HOME+ CM-03/Gemini & Gemini flex
Car Charging | LAN | Juice Charger me | Juice Charger me
Car Charging | LAN | Keba P40 | KEBA Wallbox P40
Car Charging | LAN | KEBA Wallbox P30 | KEBA Wallbox P30
Car Charging | LAN | Mennekes 4Business | Mennekes 4Business
Car Charging | LAN | Mennekes Compact | Mennekes Amtron Compact 2.0s RTU
Car Charging | LAN | NRGkick gen2 | NRGKick
Car Charging | LAN | OCPP Charger | OCPP Charger
Car Charging | LAN | Optec GLB Plus | Optec Wallbox GLB+
Car Charging | LAN | Partino Singly One | Partino Singly One
Car Charging | LAN | Peblar Home | Peblar Home
Car Charging | LAN | PhoenixCharX | Phoenix Contact CharX
Car Charging | LAN | Schneider EVlink | Schneider Electric EVlink
Car Charging | LAN | Schneider EVlinkPro | Schneider Electric EVlink Pro AC
Car Charging | LAN | Smartfox Pro Charger RTU | Smartfox Pro Charger RTU
Car Charging | LAN | Smartfox Pro Charger TCP | Smartfox Pro Charger TCP
Car Charging | LAN | smart-me Pico | smart-me Pico
Car Charging | RTU | SolarEdge EV Charger | SolarEdge EV Charger
Car Charging | LAN | Vestel EVC04 | Vestel EVC04
Car Charging | LAN | Wallbe Eco 2.0 | Wallbe Eco 2.0
Car Charging | LAN | WallbePro | Wallbe Pro
Car Charging | LAN | Webasto Live | Webasto Live
Car Charging | LAN | Webasto Next | Webasto Next
Car Charging | LAN | Webasto Unite | Webasto Unite
Car Charging | LAN | Weidmueller AC Smart Advanced | WeidmГјller AC Smart Value & Advanced
Car Charging | LAN | Weidmueller AC Smart Eco | WeidmГјller AC Smart Eco
Car Charging | RTU | Weidmueller Business | WeidmГјller Business
Car Charging | LAN | Zaptec | Zaptec Home, Pro
Car Charging | LAN | Zaptec Go | Zaptec Go
Car Charging | LAN | Zaptec Go-2 | Zaptec Go-2
Car Charging System | LAN | Alfen SCN | Alfen SCN Master
Car Charging System | LAN | easee System | easee circuit
Car Charging System | LAN | Keba OCPP | Keba via OCPP
Car Charging System | LAN | Zaptec System | Zaptec circuit
Energy Measurement | LAN | ABB B-Series EM | ABB B/D-Series RTU
Energy Measurement | LAN | ABB EQmatic EM | ABB EQmatic
Energy Measurement | LAN | AskomaSM EM | Askoma Smart Meter RTU
Energy Measurement | LAN | AskomaSM EM2 | Askoma Smart Meter RTU II
Energy Measurement | LAN | AskomaSM EM3 | Askoma Smart Meter RTU III
Energy Measurement | LAN | B-control EM300 EM | TQ EM420/SU100/MU100, B-Control EM 300
Energy Measurement | LAN | Carlo Gavazzi EM24 EM | Carlo Gavazzi EM24
Energy Measurement | LAN | Carlo Gavazzi EM3xx RTU EM | Carlo Gavazzi EM3xx RTU
Energy Measurement | LAN | CHINT DTSU666 EM | Chint DTSU666 RTU
Energy Measurement | LAN | Climkit EM | Climkit
Energy Measurement | LAN | Controlin SKD-103 RTU EM | Controlin SKD-103-M/LM RTU
Energy Measurement | LAN | Controlin SKD-103 TCP EM | Controlin SKD-103-ME TCP
Energy Measurement | LAN | DZG DVH EM | DZG DZG DVH 4013 RTU
Energy Measurement | LAN | DZG MDVH EM | DZG MDVH 4006 RTU
Energy Measurement | LAN | E3DC EM | E3DC Energy Measurement
Energy Measurement | LAN | Eastron SDM630 EM | Eastron SDM 630 TCP
Energy Measurement | LAN | Eastron SDM72D EM | Eastron SDM 72D TCP
Energy Measurement | LAN | Eastron SDM72D RTU EM | Eastron SDM 72D RTU
Energy Measurement | LAN | EM300 EM | EM300, EM420 Energy Measurement
Energy Measurement | LAN | EMU M-Bus Center EM | EMU M-Bus Center
Energy Measurement | LAN | EMU PROF EM | EMU PROFESSIONAL I/II
Energy Measurement | LAN | EMU PROF II RTU EM | EMU PROFESSIONAL I/II RTU
Energy Measurement | LAN | Fronius EM | Fronius Smart Meter
Energy Measurement | RTU | hbTec EM | hbTec
Energy Measurement | RTU | Janitza UMG 604 EM | Janitza UMG 604/512 Pro
Energy Measurement | RTU | Janitza UMG 96EM | Janitza UMG 96RM-E/PN
Energy Measurement | RTU | KElectric KE-P-80 EM | KElectric KE-P-80 Modbus TCP
Energy Measurement | LAN | KelectricSMRTU EM | KElectric KE-P-80 RTU
Energy Measurement | LAN | Kostal KEM Serie P EM | Kostal KEM Serie RTU
Energy Measurement | LAN | MUCEasy EM | Solvimus MUC.Easy
Energy Measurement | RTU | my-PV Power Meter EM | my-PV Power Meter
Energy Measurement | LAN | my-PV Power Meter Wifi EM | my-PV Power Meter Wifi
Energy Measurement | LAN | myStrom Switch EM | myStrom Energy Control Switch
Energy Measurement | LAN | Optec ecs M3PRO EM | Optec / ecs M3PRO
Energy Measurement | RTU | Optec RTU EM | Optec / ecs M3PRO RTU
Energy Measurement | RTU | Phoenix Contact EM3x EM | Phoenix Contact Energy Meter EEM-EM3XX TCP
Energy Measurement | LAN | Phoenix Contact EM3x RTU EM | Phoenix Contact Energy Meter EEM-EM3XX RTU
Energy Measurement | LAN | Phoenix Contact MA EM | Phoenix Contact Energy Meter EEM-MA/MB TCP
Energy Measurement | LAN | Schneider Connector EM | Schneider Electric iEM3000-Series via Panel Server
Energy Measurement | LAN | Schneider iEM RTU EM | Schneider Electric iEM3000-Series RTU
Energy Measurement | LAN | Schneider PowerTag Link EM | Schneider Electric PowerTag-Series via Panel Server
Energy Measurement | RTU | Shelly 1PM EM | Shelly (Plus) 1PM
Energy Measurement | LAN | Shelly 2.5EM | Shelly 2.5
Energy Measurement | RTU | Shelly 2EM | Shelly (Plus) 2 PM
Energy Measurement | LAN | Shelly 3EM | Shelly 3EM
Energy Measurement | RTU | Shelly 3EM-63 | Shelly 3EM-63
Energy Measurement | LAN | Shelly 4 Pro EM | Shelly 4 Pro
Energy Measurement | RTU | Shelly EM | Shelly EM
Energy Measurement | LAN | Shelly EM Gen3 | Shelly EM Gen3
Energy Measurement | LAN | Shelly Mini 1 PM EM | Shelly Mini 1 PM
Energy Measurement | RTU | Shelly Plug S EM | Shelly (Plus) Plug S
Energy Measurement | LAN | Shelly Plug S Gen 3 EM | Shelly (Plus) Plug S Gen3
Energy Measurement | LAN | Shelly PM Mini | Shelly PM Mini
Energy Measurement | LAN | Shelly Pro 1 EM | Shelly Pro 1PM
Energy Measurement | RTU | Shelly Pro 2 EM | Shelly Pro 2PM
Energy Measurement | RTU | Shelly Pro 3EM | Shelly Pro 3EM
Energy Measurement | LAN | Shelly Pro 4PM EM | Shelly Pro 4PM
Energy Measurement | LAN | Shelly Pro EM-50 | Shelly Pro EM-50
Energy Measurement | LAN | Siemens 7KT 5A EM | Siemens 7KT1662 (5A)
Energy Measurement | LAN | Siemens 7KT EM | Siemens 7KT1666 (80A)
Energy Measurement | LAN | Siemens PAC3200 EM | Siemens 7KM TCP
Energy Measurement | LAN | SMA Energy Meter 20 EM | SMA Energy Meter 2.0
Energy Measurement | RTU | Smart Meter v1 EM | Bridge Smart Meter
Energy Measurement | RTU | Smartfox EM | Smartfox Energy Meter 3ph
Energy Measurement | LAN | smart-me 3P EM | smart-me Cloud
Energy Measurement | RTU | smart-me Modbus EM | smart-me TCP
Energy Measurement | RTU | smart-me Plug EM | smart-me Plug
Energy Measurement | RTU | Socomec Countis E27/E47 EM | Socomec Countis E27/E47
Energy Measurement | LAN | SolarLog Base EM | SolarLog Base
Energy Measurement | RTU | SolarLogPRO380 EM | SolarLog PRO380 RTU
Energy Measurement | LAN | Tasmota flashed EM | Tasmota flashed
Energy Measurement | LAN | Wago Metas RTU EM | Wago (MID &METAS) RTU
Energy Measurement | LAN | Wago Metas TCP EM | Wago (MID &METAS) TCP
Energy Measurement | RTU | WhatWatt Cloud EM | whatwatt Cloud
Energy Measurement | LAN | WhatWatt EM | whatwatt Go
External Display | LAN | dingz | dingz
Heatpump | LAN | Acond HP | Acond
Heatpump | LAN | Alpha Innotec Luxtronic 2.0 | Alpha Innotec Luxtronic 2.0
Heatpump | LAN | Alpha Innotec Luxtronic 2.1 | Alpha Innotec Luxtronic 2.1
Heatpump | LAN | Alpha Innotec Luxtronic Modbus | Alpha Innotec Luxtronic 2.1 SHI
Heatpump | LAN | Bartl HP | ino Heatpumps made by BARTL
Heatpump | LAN | Bosch K40 | Bosch CS (K 40 RF Gateway)
Heatpump | LAN | Buderus MX400 | Buderus WLW (MX400 Gateway)
Heatpump | LAN | CTA carel | CTA OHI
Heatpump | LAN | CTA heat pump | CTA Aeroheat
Heatpump | LAN | CTA heat pump Modbus TCP | CTA Aeroheat 2.1 SHI
Heatpump | LAN | CTA heat pump RTU | CTA OH RTU
Heatpump | LAN | CTC HP | CTC EcoLogic, EcoHeat, GSi, EcoZenith
Heatpump | LAN | Dimplex | Dimplex WPM Econ5
Heatpump | LAN | Dimplex Econ Plus | Dimplex WPM EconPlus
Heatpump | LAN | Dimplex H HP | Weishaupt WWP S 5 IB - WWP S 21 I
Heatpump | LAN | Ecoforest | Ecoforest SI-GEO PCO+
Heatpump | LAN | Ezee Whisper | Ezee Whisper
Heatpump | LAN | Heim Carel | Heim AG Swiss Made
Heatpump | LAN | Heim WP dynamic | Heim AG Dynamic
Heatpump | LAN | Heim WP dynamic LWMapro | Heim AG Dynamic LWMapro
Heatpump | RTU | Heim WP dynamic Pro | Heim AG Dynamic Pro
Heatpump | RTU | Heim WP LWMapro | Heim AG LWMapro
Heatpump | LAN | Heim WP Terra | Heim AG Terra
Heatpump | LAN | Heliotherm RCG X | Heliotherm RCG X
Heatpump | LAN | Hoval WP | Hoval WP TopTronic
Heatpump | LAN | IDM | IDM
Heatpump | LAN | Kermi X40 | Kermi X40 RTU
Heatpump | RTU | Kermi X50 Pro | Kermi X50 Pro
Heatpump | LAN | LAMBDA | LAMBDA Heatpump
Heatpump | LAN | LG Therma R | LG Therma V Monobloc R290 RTU
Heatpump | RTU | LG Therma S | LG Therma V Monobloc S (R32) RTU
Heatpump | LAN | Mitsubishi Ecodan | Mitsubishi Ecodan RTU
Heatpump | LAN | M-TEC | M-TEC Heat Pump
Heatpump | LAN | NIBE myUplink | NIBE myUplink
Heatpump | LAN | NIBE S Serie | NIBE S-Series
Heatpump | LAN | NIBE SMO40 | Alpha Innotec SMO 40 RTU
Heatpump | LAN | NIBE Uplink | NIBE Uplink
Heatpump | LAN | Novelan Luxtronic SHI | Novelan WPR-Net 2.1 SHI
Heatpump | LAN | Novelan WPR-Net 2.0 | Novelan with WPR-Net 2.0
Heatpump | LAN | Novelan WPR-Net 2.1 | Novelan with WPR-Net 2.1
Heatpump | RTU | OERTLI ECODAN | OERTLI ECODAN RTU
Heatpump | LAN | OERTLI WPM Econ5 | OERTLI LAN/LIN/SIN/ECO
Heatpump | LAN | OERTLI WPM PCO5 | OERTLI SI-Geo 1-22 SQ kompakt
Heatpump | LAN | OERTLI WPM PCO5 HP | OERTLI SI-Geo 12-100 SQ HP
Heatpump | LAN | Ovum HP | Ovum
Heatpump | RTU | PV Ready mit Shelly 1 | PV Ready with Shelly 1
Heatpump | RTU | PV Ready Switch | PV Ready with Switch
Heatpump | LAN | Roth Werke Luxtronic SHI | Roth Werke WГ¤rmepumpenregler 2.1 SHI
Heatpump | LAN | Roth Werke WP 2.0 | Roth Werke WГ¤rmepumpenregler 2.0
Heatpump | LAN | S+W Futura HSW | S+W Futura HSW
Heatpump | LAN | Samsung Heatpump | Samsung EHS Mono Quiet RTU
Heatpump | RTU | SG Ready mit GUDE 2302 | SG Ready mit GUDE 2302
Heatpump | LAN | SG Ready Shelly | SG Ready with 2 Shelly 1
Heatpump | LAN | SG Ready ShellyPro | SG Ready with Shelly Pro 4PM
Heatpump | LAN | SG Ready Switch | SG Ready with Switch
Heatpump | RTU | Siemens RVS61 | Siemens Regler RVS61
Heatpump | RTU | SM2 HW heat pump Analog | Gateway 0-10V
Heatpump | LAN | Stiebel Eltron ISG Web | Stiebel Eltron ISG Web
Heatpump | LAN | Stiebel Eltron WPM G | Stiebel Eltron ISG Web WPM G
Heatpump | LAN | Vaillant aroTherm | Vaillant aroTherm
Heatpump | LAN | Vaillant Mistral | Vaillant Erset Mistral Compact
Heatpump | LAN | ViessmannHpWago | Viessman Vitocal 250-A/200-S with OneBase
Heatpump | LAN | ViessmannVitogate | Viessman Vitocal with Vitotronic
Heatpump | LAN | Waterkotte HP | Waterkotte
Heatpump | RTU | Waterkotte SmartController | Waterkotte Switzerland smart controlling
Heatpump | SMC2 | WUT_IO_0_10V HP | W&T Web-IO 0-10V Gateway
Heatpump | LAN | WUT_IO_4_20mA HP | W&T Web-IO 4-20mA Gateway
Input Device | LAN | GUDE 2302 | Gude 2302 | feedInManagement
Input Device | LAN | Janitza UMG Input | Janitza UMG 604 | feedInManagement
Input Device | LAN | Shelly Pro 1PM Input | Shelly Pro 1(PM) | feedInManagement
Input Device | LAN | Shelly Pro 2PM Input | Shelly Pro 2(PM) | feedInManagement
Input Device | LAN | Shelly Pro 3 Input | Shelly Pro 3 | feedInManagement
Input Device | LAN | Shelly Pro 4PM Input | Shelly Pro 4PM | feedInManagement
Input Device | LAN | Siemens PAC 2200 | Siemens PAC 2200 Input | feedInManagement
Input Device | LAN | SM2 HW Input | Gateway Input | feedInManagement
Input Device | LAN | Smart-me Input | Smart-me Input | feedInManagement
Input Device | SMC2 | WISE 4000 Input | Advantech WISE 4000 Series | feedInManagement
Inverter | LAN | ABB B-Series Inv | ABB B/D-Series RTU
Inverter | LAN | ABB EQmatic Inv | Production Measurement ABB EQmatic
Inverter | LAN | ABB UNO/PVI/TRIO | ABB UNO/PVI/TRIO with VSN300
Inverter | LAN | ads-tec StoraXe Inv | ads-tec StoraXe
Inverter | LAN | AlphaEssInv | AlphaESS Storion Smile
Inverter | LAN | APsystems EZ1-M | APsystems EZ1-M
Inverter | LAN | AskomaSM Inv | Production Measurement Askoma Smart Meter RTU
Inverter | LAN | AskomaSM Inv2 | Production Measurement Askoma Smart Meter RTU II
Inverter | RTU | AskomaSM Inv3 | Production Measurement Askoma Smart Meter RTU III
Inverter | RTU | Axitec Inv | Axitec AXIhycon RTU
Inverter | RTU | B-control EM300 Inv | TQ EM420/SU100/MU100, B-Control EM 300
Inverter | LAN | Carlo Gavazzi EM24 Inv | Production Measurement Carlo Gavazzi EM24
Inverter | LAN | Carlo Gavazzi EM3xx RTU Inv | Carlo Gavazzi EM3xx RTU
Inverter | LAN | CHINT DTSU666 Inv | Production Measurement Chint DTSU666 RTU
Inverter | LAN | Climkit Inv | Production Measurement Climkit PV
Inverter | LAN | Controlin SKD-103 RTU Inv | Production Measurement Controlin SKD-103-M/LM RTU
Inverter | LAN | Controlin SKD-103 TCP Inv | Production Measurement Controlin SKD-103-ME TCP
Inverter | LAN | Deye Sun Inv | Deye Sun RTU Low Voltage
Inverter | LAN | Deye Sun Inv2 | Deye Sun RTU High Voltage
Inverter | LAN | DZG DVH Inv | Production Measurement DZG DZG DVH 4013 RTU
Inverter | LAN | DZG MDVH Inv | Production Measurement DZG MDVH 4006 RTU
Inverter | LAN | E3DC Bat Inv | E3/DC Battery
Inverter | LAN | E3DC Production measurement | Production Measurement E3DC
Inverter | LAN | Eastron SDM630 Inv | Production Measurement Eastron SDM 630 TCP
Inverter | LAN | Eastron SDM72D Inv | Production Measurement Eastron SDM 72D TCP
Inverter | LAN | Eastron SDM72D RTU Inv | Production Measurement Eastron SDM 72D RTU
Inverter | LAN | Eaton Inv | Eaton xStorage Hybrid
Inverter | LAN | Ecoflow Inv | Ecoflow Power Ocean Plus
Inverter | RTU | EM300 Production measurement | Production Measurement EM300, EM420
Inverter | LAN | EMU M-Bus Center Inv | Production Measurement EMU M-Bus Center
Inverter | LAN | EMU PROF II RTU Inv | Production Measurement EMU PROFESSIONAL I/II RTU
Inverter | LAN | EMU PROF Inv | Production Measurement EMU PROFESSIONAL I/II
Inverter | LAN | EnergyButler Rtu Inv | M-Tec Energy Butler RTU
Inverter | LAN | EnergyButler TCP Inv | M-Tec Energy Butler TCP
Inverter | LAN | Enphase Inv | Enphase IQ Gateway Metered
Inverter | LAN | Fenecon Hybrid Inv | Fenecon
Inverter | LAN | Fimer Inv | Fimer PVS
Inverter | LAN | FoxEss AIO-H3 Inv | Fox ESS AIO-H3 RTU
Inverter | LAN | FoxEss H3 Pro Add Inv | Fox ESS H3 Pro RTU Additional Measurement
Inverter | LAN | FoxEss H3 Pro Inv | Fox Ess H3 Pro RTU
Inverter | LAN | FoxEss R-Series Inv | Fox ESS R-Series RTU
Inverter | LAN | Fronius SM Inv | Production Measurement Fronius Smart Meter
Inverter | LAN | Fronius Symo | Fronius Gen24, Symo, Hybrid
Inverter | LAN | Fronius TCP Inv | Fronius Gen24, Symo, Hybrid Modbus TCP | feedInManagement
Inverter | RTU | Goodwe | Goodwe ET / EH / BH / BT 5-10kW TCP
Inverter | LAN | Goodwe RTU | Goodwe ET RTU
Inverter | LAN | Goodwe SDT | Goodwe SDT/SMT
Inverter | LAN | Growatt Inv | Growatt MID, MOD & SPH RTU
Inverter | RTU | hbTec Inv | Production Measurement hbTec
Inverter | RTU | Huawei Emma Inv | Huawei EMMA
Inverter | LAN | Huawei SmartLogger3000 | Huawei SmartLogger3000
Inverter | LAN | Huawei SUN2000 | Huawei SUN2000 | feedInManagement
Inverter | LAN | Janitza UMG 96 Inv | Production Measurement Janitza UMG 96RM-E/PN
Inverter | LAN | KACO Tx1 and Tx3 | KACO Tx1 and Tx3
Inverter | RTU | KElectric KE-P-80 Inv | Production Measurement KElectric KE-P-80 Modbus TCP
Inverter | RTU | KelectricSMRTU Inv | Production Measurement KElectric KE-P-80 RTU
Inverter | LAN | Kostal KEM Serie P Inv | Production Measurement Kostal KEM Serie P RTU
Inverter | LAN | Kostal Pico CI | Kostal PIKO CI
Inverter | LAN | Kostal Piko | Kostal PIKO 4.2-20, BA http
Inverter | LAN | Kostal Piko MP | Kostal PIKO MP
Inverter | RTU | Kostal PLENTICORE plus | Kostal PLENTICORE BI/G3/plus | feedInManagement
Inverter | RTU | LEDVANCE Inv | LEDVANCE Hybrid RTU | feedInManagement
Inverter | LAN | LG ESS Inv | LG ESS HOME 8/10
Inverter | RTU | Max Storage Ultimate Inv | Solarmax Max.Storage Ultimate
Inverter | LAN | MUCEasy Inv | Production Measurement Solvimus MUC.Easy
Inverter | LAN | my-PV Power Meter Inv | Production Measurement my-PV Power Meter
Inverter | LAN | my-PV Power Meter Wifi Inv | Production Measurement my-PV Power Meter Wifi
Inverter | RTU | MyStrom Switch Inv | Production Measurement MyStrom Energy Control Switch
Inverter | LAN | neoom KJUUBE Inv | neoom KJUUBE | feedInManagement
Inverter | RTU | Optec ecs M3PRO Inv | Production Measurement Optec / ecs M3PRO
Inverter | LAN | Optec RTU Inv | Production Measurement Optec / ecs M3PRO RTU
Inverter | LAN | Phoenix Contact EM3x Inv | Production Measurement Phoenix Contact EEM-EM3XX TCP
Inverter | LAN | Phoenix Contact EM3x RTU Inv | Production Measurement Phoenix Contact EEM-EM3XX RTU
Inverter | LAN | Phoenix Contact MA/MB Inv | Production Measurement Phoenix Contact EEM-MA/MB TCP
Inverter | LAN | RCT Power Inv | RCT Power
Inverter | LAN | Salidomo Inv | Innovenergy Salidomo
Inverter | LAN | Schneider Connector Inv | Production Measurement Schneider Electric iEM3000-Series via Panel Server
Inverter | LAN | Schneider iEM RTU Inv | Production Measurement Schneider Electric iEM3000-Series RTU
Inverter | RTU | Schneider PowerTag Link Inv | Production Measurement Schneider Electric PowerTag-Series via Panel Server
Inverter | LAN | Senmarck Inv | Senmarck All-In-One RTU
Inverter | LAN | Shelly 1PM Inv | Production Measurement Shelly (Plus) 1PM
Inverter | LAN | Shelly 3EM Inv | Production Measurement Shelly 3EM
Inverter | RTU | Shelly 3EM-63 Inv | Production Measurement Shelly 3EM-63
Inverter | LAN | Shelly EM Gen3 Inv | Production Measurement Shelly EM Gen3
Inverter | RTU | Shelly EM Inv | Production Measurement Shelly EM
Inverter | RTU | Shelly Mini 1 PM Inv | Production Measurement Shelly Mini 1 PM
Inverter | RTU | Shelly Plug S Gen3 Inv | Production Measurement Shelly (Plus) Plug S Gen3
Inverter | RTU | Shelly Plug S Inv | Production Measurement Shelly (Plus) Plug S
Inverter | RTU | Shelly Pro 1 Inv | Production Measurement Shelly Pro 1 PM
Inverter | RTU | Shelly Pro 2 Inv | Production Measurement Shelly Pro 2 PM
Inverter | RTU | Shelly Pro 3EM Inv | Production Measurement Shelly Pro 3EM
Inverter | RTU | Shelly Pro 50 Inv | Production Measurement Shelly Pro EM-50
Inverter | RTU | Siemens 7KT 5A Inv | Production Measurement Siemens 7KT1662 (5A)
Inverter | LAN | Siemens 7KT Inv | Production Measurement Siemens 7KT1666 (80A)
Inverter | LAN | Siemens PAC3200 Inv | Produktionsmessung Siemens 7KM TCP
Inverter | LAN | Sigenergy Inv | Sigenergy SigenStor
Inverter | LAN | SKHWR Inv | Sonnenkraft Hybridwechselrichter RTU
Inverter | RTU | SKHWR Pro Inv | Sonnenkraft Hybridwechselrichter Pro RTU
Inverter | RTU | SMA Datamanger Inv | SMA Data Manager
Inverter | LAN | SMA Energy Meter 20 Inv | Production Measurement SMA Energy Meter 2.0
Inverter | LAN | SMA STP SUNNY TRIPOWER | SMA STP Sunny Tripower
Inverter | RTU | Smart Meter v1 Inv | Bridge Smart Meter
Inverter | LAN | Smartfox Inv | Production Measurement Smartfox Energy Meter 3ph
Inverter | LAN | smart-me Cloud Inv | Production Measurement smart-me Cloud
Inverter | RTU | smart-me Modbus Inv | Production Measurement smart-me TCP
Inverter | RTU | Socomec Countis Inv | Production Measurement Socomec Countis E27/E47
Inverter | LAN | Sofar HYD Inv | Sofar Hybrid 5K-20KTL-3PH RTU
Inverter | LAN | Sofar HYD TCP Inv | Sofar Hybrid 5K-20KTL-3PH TCP
Inverter | RTU | Sofar KTLX-G3Inv | Sofar KTLX-G3 RTU
Inverter | LAN | SolarEdge SE | SolarEdge SE | feedInManagement
Inverter | LAN | SolarEdge SE Add Inv | SolarEdge SE Additional Measurement
Inverter | LAN | SolarLog Base Inv | Production Measurement SolarLog Base
Inverter | RTU | SolarLog Modbus DM | Production Measurement SolarLog Directmarketing
Inverter | LAN | SolarLogPRO380 Inv | Production Measurement SolarLog PRO380 RTU
Inverter | LAN | SolarMax S and MT | Solarmax S and MT
Inverter | RTU | Solarmax SMT | Solarmax SMT-Series RS485
Inverter | RTU | Solax Hybrid G4 Inv | Solax Hybrid (X1&X3-G4) | feedInManagement
Inverter | RTU | Solax Hybrid G4 RTU Inv | Solax Hybrid (X1&X3-G4) RTU | feedInManagement
Inverter | RTU | Solax Hybrid Inv | Solax Hybrid (X1&X3-G3)
Inverter | RTU | Solinteg MHT | Solinteg MHT
Inverter | RTU | Solis Inv | Solis Hybrid RTU | feedInManagement
Inverter | LAN | Solis String Inv | Solis S5-GC (25-40) RTU
Inverter | RTU | Solplanet Inv | Solplanet RTU
Inverter | LAN | sonnenBatterie Inv | sonnenBatterie
Inverter | LAN | sonnenBatterie v2 Inv | sonnenBatterie 10
Inverter | LAN | sonnenBatterieInv eco 7.0 | sonnenBatterie eco 7.0
Inverter | RTU | Strong Alfred Inv | Strong Alfred RTU | feedInManagement
Inverter | RTU | Studer Next3 Inv | Studer Innotec Next3
Inverter | RTU | Sungrow SH Inv | Sungrow SHxxRS/T | feedInManagement
Inverter | LAN | Sungrow SH5.0-10RT | Sungrow SHxxRT | feedInManagement
Inverter | RTU | SungrowLogger1000 | Sungrow with Logger 1000
Inverter | RTU | SungrowSG Inv | Sungrow SG | feedInManagement
Inverter | LAN | Sunwoda ESS Inv | Sunwoda SunESS Power All-in-One RTU
Inverter | RTU | Swaytronic Inv | Swaytronic Hybrid Smartinverter
Inverter | LAN | Tesla Powerwall 2 Inv | Tesla Powerwall 2
Inverter | LAN | Trina Solar Inv | Trina Solar RTU
Inverter | LAN | Ubbink Inv | Ubbink BESS 1.0 RTU
Inverter | LAN | UMG604 Production measurement | Production Measurement Janitza UMG 604/512 Pro
Inverter | RTU | Victron Venus GX add Inv | Victron Venus GX PV DC (additional Inverter)
Inverter | RTU | Victron Venus GX PV DC | Victron Venus GX PV DC
Inverter | RTU | Wago Metas RTU Inv | Production Measurement Wago (MID &METAS) RTU
Inverter | LAN | Wago Metas TCP Inv | Production Measurement Wago (MID &METAS) TCP
Inverter | LAN | WhatWatt Cloud Inv | whatwatt Cloud
Inverter | LAN | WhatWatt Inv | whatwatt Go
Smart Meter | LAN | ABB B-Series SM | ABB B/D-Series RTU
Smart Meter | LAN | ABB EQmatic | ABB EQmatic
Smart Meter | LAN | ads-tec StoraXe SM | ads-tec StoraXe
Smart Meter | LAN | AlphaEssBatSM | AlphaESS Storion Smile
Smart Meter | LAN | AskomaSM | Askoma Smart Meter RTU
Smart Meter | LAN | AskomaSM2 | Askoma Smart Meter RTU II
Smart Meter | LAN | AskomaSM3 | Askoma Smart Meter RTU III
Smart Meter | LAN | Axitec SM | Axitec AXIhycon RTU
Smart Meter | LAN | B-control EM300 | TQ EM420/SU100/MU100, B-Control EM 300
Smart Meter | LAN | Carlo Gavazzi EM24 | Carlo Gavazzi EM24 (LAN)
Smart Meter | LAN | Carlo Gavazzi EM3xx RTU | Carlo Gavazzi EM3xx RTU
Smart Meter | LAN | CHINT DTSU666 SM | Chint DTSU666 RTU
Smart Meter | RTU | CLEMAP ONE | CLEMAP ONE
Smart Meter | LAN | Climkit SM | Climkit main meter
Smart Meter | LAN | Controlin SKD-103 RTU SM | Controlin SKD-103-M/LM RTU
Smart Meter | RTU | Controlin SKD-103 TCP SM | Controlin SKD-103-ME TCP
Smart Meter | RTU | Deye Sun SM | Deye Sun RTU Low Voltage
Smart Meter | RTU | Deye Sun SM2 | Deye Sun RTU High Voltage
Smart Meter | LAN | DZG DVH SM | DZG DZG DVH 4013 RTU
Smart Meter | LAN | DZG MDVH SM | DZG MDVH 4006 RTU
Smart Meter | LAN | E3DC Bat SM | E3/DC Battery
Smart Meter | LAN | Eastron SDM630 | Eastron SDM 630 TCP
Smart Meter | LAN | Eastron SDM72D RTU SM | Eastron SDM SDM 72D RTU
Smart Meter | LAN | Eastron SDM72D SM | Eastron SDM SDM 72D TCP
Smart Meter | LAN | Eaton SM | Eaton xStorage Hybrid
Smart Meter | LAN | Ecocoach SM | Ecocoach
Smart Meter | LAN | Ecoflow SM | Ecoflow Power Ocean Plus
Smart Meter | LAN | EmonCmsSmartMeter | EmonCmsSmartMeter
Smart Meter | LAN | EMU M-Bus Center | EMU M-Bus Center
Smart Meter | LAN | EMU PROF II RTU SM | EMU PROFESSIONAL I/II RTU
Smart Meter | RTU | EMU PROFESSIONAL | EMU PROFESSIONAL I/II
Smart Meter | LAN | EnergyButler Rtu SM | M-Tec Energy Butler RTU
Smart Meter | LAN | EnergyButler TCP SM | M-Tec Energy Butler TCP
Smart Meter | LAN | Enphase IQ SM | Enphase IQ Gateway Metered
Smart Meter | LAN | Expert Net Control 2312-1 | Expert Net Control 2312-1
Smart Meter | LAN | Fenecon Hybrid SM | Fenecon
Smart Meter | LAN | FoxEss AIO-H3 SM | Fox ESS AIO-H3 RTU
Smart Meter | LAN | FoxEss H3 Pro SM | Fox Ess H3 Pro RTU
Smart Meter | LAN | Fronius Smart Meter 3P | Fronius Smart Meter
Smart Meter | RTU | Fronius TCP SM | Fronius Smart Meter Modbus TCP
Smart Meter | RTU | Goodwe RTU SM | Goodwe Smart Meter ET RTU
Smart Meter | LAN | Goodwe SM | Goodwe Smart Meter ET / EH / BH / BT TCP
Smart Meter | LAN | GREENROCK storage SM | GREENROCK storage
Smart Meter | LAN | Growatt SM | Growatt MID, MOD & SPH RTU
Smart Meter | LAN | hbTec SM | hbTec
Smart Meter | LAN | Huawei Emma SM | Huawei EMMA
Smart Meter | LAN | Huawei SM | Huawei Smart Power Sensor
Smart Meter | RTU | Huawei Smartlogger SM | Huawei SmartLogger3000
Smart Meter | LAN | Innovenergy Salidomo SM | Innovenergy Salidomo
Smart Meter | LAN | Janitza UMG 604 | Janitza UMG 604/512 Pro
Smart Meter | LAN | Janitza UMG 96 SM | Janitza UMG 96RM-E/PN
Smart Meter | LAN | KElectric KE-P-80 SM | KElectric KE-P-80 Modbus TCP
Smart Meter | LAN | KelectricSMRTU | KElectric KE-P-80 RTU
Smart Meter | LAN | KOSTAL EM | KOSTAL Smart Energy Meter
Smart Meter | LAN | Kostal KEM Serie P SM | Kostal KEM Serie P RTU
Smart Meter | RTU | Kostal PLENTICORE plus SM | Kostal PLENTICORE BI/G3/plus
Smart Meter | LAN | LEDVANCE SM | LEDVANCE Hybrid RTU
Smart Meter | LAN | LG ESS SM | LG ESS HOME 8/10
Smart Meter | RTU | Max Storage Ultimate SM | Solarmax Max.Storage Ultimate
Smart Meter | LAN | MUCEasy SM | Solvimus MUC.Easy
Smart Meter | LAN | my-PV Power Meter | my-PV Power Meter
Smart Meter | LAN | my-PV Power Meter Wifi SM | my-PV Power Meter Wifi
Smart Meter | LAN | neoom KJUUBE SM | neoom KJUUBE
Smart Meter | LAN | Optec ecs M3PRO SM | Optec / ecs M3PRO
Smart Meter | RTU | OptecSM | Optec Optec / ecs M3PRO RTU
Smart Meter | RTU | Phoenix Contact EM3x RTU SM | Phoenix Contact Energy Meter EEM-EM3XX RTU
Smart Meter | LAN | Phoenix Contact EM3x SM | Phoenix Contact Energy Meter EEM-EM3XX TCP
Smart Meter | RTU | Phoenix Contact MA SM | Phoenix Contact Energy Meter EEM-MA/MB TCP
Smart Meter | LAN | RCT Power SM | RCT Power
Smart Meter | LAN | Schneider Connector | Schneider Electric iEM3000-Series via Panel Server
Smart Meter | LAN | Schneider iEM RTU SM | Schneider Electric iEM3000-Series RTU
Smart Meter | LAN | Schneider PowerTag Link | Schneider Electric PowerTag-Series via Panel Server
Smart Meter | LAN | Senmarck SM | Senmarck RTU
Smart Meter | LAN | Shelly 3 EM | Shelly 3EM
Smart Meter | RTU | Shelly 3EM-63 SM | Shelly 3EM-63
Smart Meter | LAN | Shelly Pro 3 EM | Shelly Pro 3EM
Smart Meter | LAN | Siemens 7KT 5A SM | Siemens 7KT1662 (5A)
Smart Meter | LAN | Siemens 7KT SM | Siemens 7KT1666 (80A)
Smart Meter | LAN | Siemens PAC3200 | Siemens 7KM TCP
Smart Meter | LAN | Sigenergy SM | Sigenergy SigenStor
Smart Meter | LAN | SKHWR Pro SM | Sonnenkraft Hybridwechselrichter Pro RTU
Smart Meter | RTU | SKHWR SM | Sonnenkraft Hybridwechselrichter RTU
Smart Meter | LAN | SMA Datamanger SM | SMA Data Manager
Smart Meter | LAN | SMA Energy Meter | SMA Energy Meter
Smart Meter | LAN | SMA Energy Meter 20 SM | SMA Energy Meter 2.0
Smart Meter | RTU | SMA Sunny Home SM | SMA Sunny Home Manager 2.0
Smart Meter | RTU | SMA Tripower SE SM | SMA Tripower Smart Energy
Smart Meter | RTU | Smart Meter v1 SM | Bridge Smart Meter
Smart Meter | RTU | Smartfox Pro | Smartfox Pro
Smart Meter | RTU | Smartfox SM | Smartfox Energy Meter 3ph RTU
Smart Meter | RTU | smart-me Modbus SM | smart-me TCP
Smart Meter | LAN | smart-me SM | smart-me Cloud
Smart Meter | LAN | Socomec Countis E27/E47 | Socomec Countis E27/E47
Smart Meter | RTU | Sofar HYD SM | Sofar Hybrid 5K-20KTL-3PH RTU
Smart Meter | RTU | Sofar HYD TCP SM | Sofar Hybrid 5K-20KTL-3PH TCP
Smart Meter | LAN | SolarEdge Energy Meter | SolarEdge Energy Meter
Smart Meter | RTU | SolarLog Base | SolarLog Base
Smart Meter | RTU | SolarLogPRO380 SM | SolarLog PRO380 RTU
Smart Meter | RTU | Solarmax PowerMeter SM | Solarmax Power Meter +
Smart Meter | LAN | SOLARWATT MyReserve SM | SOLARWATT MyReserve
Smart Meter | RTU | Solax Hybrid G4 RTU SM | Solax Hybrid (X1&X3-G4) RTU
Smart Meter | RTU | Solax Hybrid G4 SM | Solax Hybrid (X1&X3-G4)
Smart Meter | RTU | Solax Hybrid SM | Solax Hybrid (X1&X3-G3)
Smart Meter | RTU | Solinteg MHT SM | Solinteg MHT
Smart Meter | RTU | Solis SM | Solis Hybrid
Smart Meter | RTU | Solplanet SM | Solplanet RTU
Smart Meter | LAN | sonnenBatterie v2 SM | sonnenBatterie 10
Smart Meter | LAN | sonnenBatterieSM | sonnenBatterie
Smart Meter | LAN | sonnenBatterieSM eco 7.0 | sonnenBatterie eco 7.0
Smart Meter | LAN | Strong Alfred SM | Strong Alfred
Smart Meter | LAN | Studer Next3 SM | Studer Innotec Next3
Smart Meter | RTU | Sungrow SH SM | Sungrow SHxxRS/T
Smart Meter | RTU | SungrowSG SM | Sungrow SG
Smart Meter | LAN | SungrowSH5 SM | Sungrow SHxxRT
Smart Meter | RTU | Sunwoda ESS SM | Sunwoda SunESS Power All-in-One RTU
Smart Meter | LAN | Swaytronic SM | Swaytronic Hybrid Smartinverter
Smart Meter | LAN | Tesla Powerwall 2 SM | Tesla Powerwall 2
Smart Meter | RTU | Trina Solar SM | Trina Solar RTU
Smart Meter | LAN | TWICE Hexagon SM | modual Basic / Lite AC
Smart Meter | RTU | Ubbink SM | Ubbink BESS 1.0 RTU
Smart Meter | LAN | Varta Storage SM | Varta Storage Smart Meter
Smart Meter | RTU | Victron Energy Venus SM | Victron Energy Venus GX Smart Meter
Smart Meter | LAN | Virtual Smart Meter SM | Virtual Aggregate Meter
Smart Meter | LAN | Wago Metas RTU SM | Wago (MID &METAS) RTU
Smart Meter | RTU | Wago Metas TCP SM | Wago (MID &METAS) TCP
Smart Meter | RTU | Waterkotte Smart Controller SM | Waterkotte Smart Controller
Smart Meter | RTU | WhatWatt Cloud SM | whatwatt Cloud
Smart Meter | LAN | WhatWatt SM | whatwatt Go
Smart Plug | LAN | MyStrom Switch | MyStrom Energy Control Switch
Smart Plug | LAN | MyStrom Switch Zero | MyStrom Wifi Switch Zero
Smart Plug | LAN | Shelly Plug S | Shelly (Plus) Plug S
Smart Plug | LAN | smart-me Plug | smart-me Plug
Smart Plug | LAN | Tasmota flashed | Tasmota flashed
Switches | LAN | GUDE 2312 | GUDE 2312/2314 with measurement
Switches | LAN | Relaisbox GUDE 2302 | GUDE 2302 Relaisbox
Switches | LAN | Rutenbeck TCR IP 4 | Rutenbeck TCR IP 4
Switches | LAN | Shelly 1 | Shelly (Plus) 1
Switches | LAN | Shelly 1PM | Shelly (Plus) 1PM
Switches | LAN | Shelly 2.5 | Shelly 2.5
Switches | LAN | Shelly 2PM | Shelly (Plus) 2 PM
Switches | LAN | Shelly 3EM Switch | Shelly 3EM Switch
Switches | LAN | Shelly 4 Pro | Shelly 4 Pro
Switches | LAN | Shelly EM Switch | Shelly EM Switch
Switches | LAN | Shelly Mini 1 | Shelly Mini 1
Switches | LAN | Shelly Mini 1 PM | Shelly Mini 1 PM
Switches | LAN | Shelly Pro 1PM | Shelly Pro 1 (PM)
Switches | LAN | Shelly Pro 2PM | Shelly Pro 2 (PM)
Switches | LAN | Shelly Pro 3 | Shelly Pro 3
Switches | LAN | Shelly Pro 3 EM Switch | Shelly Pro 3 EM Switch (Add-On)
Switches | LAN | Shelly Pro 4PM | Shelly Pro 4PM
Switches | LAN | Shelly PRO EM-50 Switch | Shelly Pro EM-50
Switches | LAN | Siemens PAC 2200 Relais | Siemens PAC 2200 Relais
Switches | LAN | SM2 HW Switch | Gateway Switch
Switches | LAN | Smart-me Relais | Relais on Smart-me Cloud
Switches | LAN | VirtualSwitch | Virtual Switch
Switches | SMC2 | WISE 4000 | Advantech WISE 4000 Series
Temperature | LAN | Gude | Gude Relais Box
Temperature | LAN | RutenbeckTemp | Rutenbeck Temperature Sensor
Temperature | LAN | Shelly | Shelly (Plus) 1 (PM)
Temperature | LAN | Shelly 1 Gen3 | Shelly 1 (Gen3)
V2X | LAN | EVTEC sospeso | sun2wheel two-way-digital
Water Heater | LAN | 1StepOnOff | 1 Step ON / OFF
Water Heater | LAN | 2StepControl | 2 Step Control
Water Heater | LAN | 3StepControl | 3 Step Control
Water Heater | LAN | AIT BWP | AIT BWP
Water Heater | LAN | ASKOHEAT SM | ASKOHEAT+
Water Heater | LAN | EGO Smart Heater Ethernet | EGO Smart Heater Ethernet
Water Heater | LAN | myPV AC THOR | my-PV AC THOR
Water Heater | LAN | MyPV ELWA-E | my-PV ELWA I/II
Water Heater | LAN | Ochsner Europe | Ochsner Europe 333 Genius RTU
Water Heater | LAN | Oekoboiler RTU | Oekoboiler
Water Heater | LAN | Ohmpilot | Fronius Ohmpilot
Water Heater | RTU | Phnix airExpert | Phnix airExpert R290
Water Heater | LAN | Pv Ready Waterheater | PV Ready with Switch
Water Heater | RTU | Rennergy PV-Heiz | Rennergy PV-Heiz
Water Heater | RTU | Shelly Pro Dimmer 0/1-10V PM | Shelly Pro Dimmer 0/1-10V PM
Water Heater | LAN | SM2 HW Water Analog | Gateway 0-10V
Water Heater | SMC2 | WUT_IO_0_10V | W&T Web-IO 0-10V Gateway
Water Heater | LAN | WUT_IO_4_20mA | W&T Web-IO 4-20mA Gateway